## C217 Bioquell_HPV_Decon03-16
BIOQUELL HPV DECONTAMINATION RECORD
DIVISION OF COMPARATIVE MEDICINE
FACILITY
DATE of DECON | ROOM # | LOCATION | CHEMICAL INDICATOR | BIOLOGICAL INDICATOR |  |  | COMMENTS | REVIEWED BY
|  |  | Record Highest Log Achieved | 18 HOUR | 7 DAY | Final Status
|  |  |  | Turbid/Clear | Turbid/Clear | Pass/Fail
(e.g., 2, 4 or 6-log)
Indicate room number and all locations that the chemical and biological indicators have been placed. Any indicator failure (i.e., CI = < 6-log reduction or BI turbidity) must be reported promptly to the Facility Manager and the decontamination cycle reevaluated. Facility Manager, or designee must periodically review results to ensure compliance with SOPs.